A  GUIDE  TO  SPUTTERING

In  1852,  W  R  Grove  presented  a  paper  which  provided  the  first  recorded  observation  of  sputtering,  the  ejection  of  atoms  of  a  material  resulting  from  its  bombardment  by  positive  ions  [1].  Today,  sputtering  has  grown  to  be  the  most  widely  used  vacuum  deposition  technique,  with  applications  in  industry  and  experimental  research.  In  industry,  sputtering  is  used  to  manufacture  magnetic  storage  disks  in  personal  computers,  and  for  producing  optical  coatings  [2].  Our  lab  is  equipped  with  a  homebuilt  Ultra  High  Vacuum  (UHV)  System  which  consists  of  two  chambers  equipped  with  a  total  of  five  sputtering  guns,  (two  rf-  and  three  dc-),  two  ion-mills,  and  an  electron  beam  evaporator  (Figure  1).

Figure  1:  Our  homebuilt  UHV  System.

One  of  the  chambers  is  dedicated  to  making  Nb  trilayers  for  SQUIDs,  whilst  the  other  is  a  multipurpose chamber,  currently  used  for  the  fabrication  of  S-F-S  Josephson  junctions  [3] .  The  purpose  of  this  report  is  to  provide  the  user  of  the  UHV  System  with  guidelines  on  how  to  sputter.

The  main  steps  in  sputtering  are  :

A)  Substrate  Preparation

B)  System  Preparation

C)  Substrate  Loading

D)  Sample  Positioning

E)  Ion  Milling

F)  Film  Deposition

G)  Sample  Unloading

H)  Final  Checks

I)    Sample  Treatment

A)  Substrate  Preparation

The  substrate  used  for  our  purpose  is  silicon  oxide,  which  was  pre-coated  with  photoresist  in  the  cleanroom.  The  coating  of  photoresist  is  to  minimize  impurities  adhering  to  the  surface  of  the  substrate  when  it  is  brought  out  of  the  cleanroom  into  the  sputtering  lab.

- Fill  one  beaker  with  acetone

- Fill  another  beaker  with  isopropyl  alcohol  (2-propanol)

- Using  a  pair  of  handlers,  transfer  the  substrate  from  a  dish  first  into  the  beaker  with  acetone

- Place  this  beaker  into  the  Ultrasonix  57X  machine  and  hit  “Start”

- After  1-2  minutes,  hit  “Stop”  on  the  Ultrasonix  57X  machine

- Whilst  spraying  acetone  on  the  substrate,  transfer  the  substrate  quickly  into  the  beaker  with  isopropyl  alcohol

- After  rinsing  with  isopropyl  alcohol,  dry  the  film  with  a  dryer,  with  the  film  tilted  downwards

The  preceding  steps  removed  the  layer  of  photoresist  coated  on  the  substrate,  and  chemically  cleaned  it.

- Take  a  sample  holder  and  apply  silver  grease  on  its  surface

- Using  2  q-tips,  press  the  sample  down

- Place  the  prepared  sample  holder  under  a  beaker  near  the  UHV  system

B)  System  Preparation

The  objective  of  the  following  steps  is  to  vent  (bring  to  atmospheric  pressure)  the  loadlock  chamber.

- Ensure  that  the  loadlock  chamber  gate  valve  is  closed,  and  the  gate  valve  for  the  cryopump  is  open.  The  gate  valve  for  the  cryopump  is  open  all  the  way  at  this  stage  for  the  cryopump  to  maintain  a  high  vacuum  in  the  main  chamber.

- Shut  off  the  turbo  pump  by  pressing  on  button  A  of  the  TCP  21  electronics  (Fig  2).

Figure 2:  Electronics  of  the  UHV  system

- Close  the  butterfly  valve  ( located  behind  the  entry  point  of  the  loadlock  chamber).  This  isolates  the  roughing  pump  from  the  system.

Figure  3:  Lock  of  loadlock  chamber  and  nitrogen  valve

- Loosen  the  lock  of  the  loadlock  chamber  (Figure  3),  and  rotate  the  lock  to  the  right  of  the  sample  entry  point.

- Open  the  nitrogen  valve  (the  green  tap  beneath  the  loadlock  chamber,  Figure  3)  Do  this  slowly  so  that  there  is  no  sudden  buildup  of  pressure  within  the  loadlock  chamber.

6)   Check  that  the  reading  A  of  the  307  Vacuum  Gauge  Controller  reads

7.7 x 102 (atmospheric  pressure)  before  opening  the  loadlock  chamber.

C)  Substrate  Loading

Having  vent  the  sample  chamber,  we  are  now  ready  to  load  the  sample.

1)  Screw  the  sample  holder  onto  the  transfer  rod.  Ensure  that  the  nuts  on               screw  from  the  transfer  rod  are  not  falling  off.

- Turn  the  sample  face  down  using  the  magnet  (Figure  4)  on  the  external  part  of  the  transfer  rod.

Figure  4:  Magnet  used  to  adjust  sample  position

- Close  the  loadlock  chamber  and  lock  it.

- Turn  off  the  nitrogen  valve

Before  one  transfers  the  sample  from  the  loadlock  chamber  into  the  main  chamber,  a  low  pressure  is  desired.  The  change  from  atmospheric  pressure  to  the  low  pressure  in  the  sputtering  chamber  is  effected  in  two  steps  (5  &  6).

- First,  the  butterfly  valve  is  opened  as  shown  in  Figure  5.

Figure  5:  An  opened  butterfly  valve

- When  the  second  reading  on  the  307  Vacuum  Gauge Controller  reads  5 x 10-2  or  lesser,  push  button  ON  of  TCP 121  to  turn  the  turbo  pump  on.

- Once  the  TCP  121  bar  is  fully  lit  (luminous  green),  the  turbo  pump  is  up  to  speed,  and  the  loadlock  chamber  valve  can  be  opened  to  allow  equilibration  of  pressures  (At  this  point,  the  first  reading  on  the  307  Vacuum  Gauge  Controller  will  increase  initially,  but  should  drop  eventually)

D)  Sample  Positioning

This  is  probably  the  most  technically  challenging  task;  the  user  is  required  to  align  the  transfer  rod  and  the  two  bolts,  slotting  the  sample  holder  (See  Figure  6)  into  one  of  the  forked  ends  of  the  internal  support.  The  user  should  be  cautious  not  to  let  the  sample  run  into  the  shutter.

Figure  6:  A  sample  holder

E)  Ion  Milling

The  purpose  of  ion  milling  is  to  clean  the  surface  of  substrates.  After  fitting  the  sample  holder  into  the  forked  end,  the  sample  would  have  been  in  a  position  to  be  ion-milled,  since  the  ion-mill  is  located  directly  under  the  point  where  the  sample  is  transferred  in  from  the  loadlock  chamber.

- The  ion-mill  compartment  is  linked  to  tap  3  (Figure  7),  which  is  in  turn  connected  to  a  cylinder  of  Ar  gas.

- Open  tap  3

Figure 7 :  Taps  linked  to  gas  cylinders

- On  the  Model  2478  4-Channel,  flip  “Channel  3”  up  (Figure  8)

- Wait until the pressure on the ION gauge reads 2-3x10-4.

Steps  1  to  4  can  be  understood  as  the  initiation  of  the  flow  of  Ar  gas.  The  ion-mill  should  be  ready  to  use.  Procedures  for  further  adjustments  of  the  ion-mill  can  be  found  in  the  ion-mill  manual.

Figure  8:  The  ID  2500,   MKS  Flow  Controller  Model  2478,  and  water  timer

- Turn  the  power  on  ID  2500  on  to  ionize  the  Ar  gas

- Get  a  timer  ready

- Turn  source  on,  wait  for  discharge  to  light,  then  turn  beam  on.  These  controls  are  found  on  the  ID  2500.

- Ion  mill  for  40  s

- First,  turn  the  beam  off,  then  turn  the  source  off,  and  then  turn  the  power  off

10)Wait  for  approximately  10  minutes  to  allow  the  sample  to  cool

F)  Film  Deposition

Before  coating  the  substrate  with  a  film,  the  user  has  to  go  through  the  process  of  pre-sputtering  to  get  rid  of  impurities  trapped  in  the  gun.

1)Check  that  the  high  voltage  power  cable  (Figure  9)  is  attached  to  the  relevant  gun

Figure  9:  High  voltage  power  cable

- Turn  the  water  timer  (Figure  8)  on.  This  runs  out  in  60  minutes  so  that  we  do  not  waste  the  deionized  water.  If  the  user  intends  to  sputter  for  a  long  time  (over  an  hour),  ensure  that  the  water  timer  does  not  run  out.  This  is  an  important  step  since  we  do  not  want  the  system  to  overheat

3)  Turn  the  leftmost  switch  on  Model  2478  4-Channel  up. We  initiate  the  Ar     flow  through  channel  1. For that purpose we open the tap labelled 1 ,  and  then  open  the  channel  1  on  the  2478  flow  controller

- Close  the  cryopump  gate  valve  until  the  pressure  reaches  10-2 on  the baratron  gauge  (gauge  B  on  Philips  307  Gauge  Controller)

- On  the  MDX-1K  Channel  Box,  hit  Power  On,  hit  the  “SETPT”  button,  and  rotate  the  knob  to  adjust  for  the  appropriate  setpoint  for  power.  For  instance,  the  setpoint  for  Niobium  sputtering  is  153 W,  and  that  for  CuNi  is  12  or  30 W.

- Time  this  process  (pre-sputtering)  for  approximately  four  minutes

- At  this  point,  move  the  substrate  from  above  the  ion-mill  to  above  the  Niobium  gun.  This  can  be  done  by  manipulating  the  “jog”  button  of  the  remote  control.

- Leave  the  system  to  sputter  for  as  long  as  required.  Take  note  though,  that  sputtering  for  too  long  a  time  causes  the  sample  to  overheat.  For  sputtering  over  extended  time  periods,  be  sure  to  move  the  sample  away  from  the  gun  to  cool  from  time  to  time.  Take  note  that  the  gun  should  not  be  turned  off,  or  else  one  might  have  to  presputter  again.

In  observing  various  plasmas  through  the  inlets,  a  brighter  color  for  the  plasma  is  seen  if  higher  power  is  used.  A  different  colored  plasma  results  from  the  use  of  different  materials  as  plasma  material.

G)  Sample  Unloading

Before  unloading  the  sample,  the  user  should  perform  the  following  steps:

- Turn  the  MDX-1K  off  (This  is  to  stop  the  sputtering). To  do  that,  first  turn  the  plasma  off,  and  then  turn  the  power  off.

- Turn  the  Model  2478  4-Channel  off  (To  stop  the  flow  of  gas).  We  do  not  turn  the  whole  flow  controller  off.  We  only  shut  off  channel  1.

- Turn  tap  I  off

- Close  the  gate  valve  for  the  cryopump

- Turn  the  water  supply  off

The  sample  can  now  be  withdrawn  back  to  its  original  position.

We  will  now  wish  to  open  the  vacuum  pump  so  we  could  build  up  the  pressure  within  the  sample  chamber  to  atmospheric  pressure

- Remove  the  sample  from  the  sample  holder  with  the  2  q-tips

- Remove  the  silver  grease  from  the  base  of  the  sample  with  isopropyl-alcohol,  then  acetone.

- Do  likewise  for  the  sample  holder

- Store  the  sample

References:

[1]  http://physics.iop.org/IOP/Confs/Spu/

[2]  http://www.gencoa.com/tech/future.html

[3]  http://groups.mrl.uiuc.edu/dvh/sputtering.html

Acknowledgements:

The  author  gratefully  acknowledges  the  demonstrations  and  instructions  on  the  use  of  the  UHV  system  by  S.  Frolov  and  M.  Stoutimore.